Roof Inspections Requirements (New Construction)

Once permit application is issued the applicant will receive a copy of the Permit-Inspections Job Card to be posted at the job site. A copy of the Notice of Commencement is required to be uploaded to the portal and posted to the job site.

The below inspections are required for all residential roof replacements.

New Residential and New Commercial

- Roof Sheathing (106)

- Roof Dry-In, Flashing (140):

- 100% of underlayment

- 100% of flashing

- 100% of all roof penetrations

- Roof In-Progress (132):

- Up to 50% of roof covering on one or more roof sections.

- Leave valleys exposed.

- Portion of starter strip visible

- Portion of drip edge visible

- Building Final (117):

- Roof 100% Complete, all debris cleaned up.

Schedule Inspections:

- Access online portal https://aca-prod.accela.com/manatee

- Phone: (941) 749-3047

- Text “schedule” to 833-392-8861