Roof Inspections Requirements (Owner-Builder)

Once permit application is issued the applicant will receive a copy of the Permit-Inspections Job Card to be posted at the job site. A copy of the Notice of Commencement is required to be uploaded to the portal and posted to the job site.

The below inspections are required for all residential roof replacements.

Roof Express (Shingle, Metal, TPO, Membrane):

- Roof Sheathing (802): Roof Sheathing/Re-Nailing

- Combined Dry-in Flashing and in Progress (800): 100% of underlayment, 100% of flashing, leave valleys exposed, Portion of starter strip visible, Portion of drip edge visible, up to 50% of roof covering on one or more roof sections.

- Final (803): Roof 100% Complete, all debris cleaned up.

Residential Roof Express (Tile):

- Roof Sheathing (802): Roof Sheathing/Re-Nailing

- Roof Dry-In & Flashing (801): 100% of underlayment, 100% of flashing, 100% roof penetrations.

- Roof In-Progress (804): Up to 50% of roof covering on one or more roof sections, leave valleys exposed, Portion of starter strip visible, Portion of drip edge visible.

- Final (803): Roof 100% Complete, all debris cleaned up.

Roof Standard (Shingle, Metal, TPO, Membrane):

- Roof Sheathing (106): Roof Sheathing/Re-Nailing

- Combined Dry-in Flashing and in Progress (139): Dried in, flashing done, and 50%-75% of shingles in place, leaving the valleys open.

- Final (117): Completed roof, all debris cleaned up.

Roof Standard (Tile):

- Roof Dry-In & Flashing (140): 100% of underlayment, 100% of flashing, 100% roof penetrations.

- Roof In-Progress (132): Up to 50% of roof covering on one or more roof sections, leave valleys exposed, Portion of starter strip visible, Portion of drip edge visible.

- Final (117): Roof 100% Complete, all debris cleaned up.

Shingle over Shingle Roof or Metal over Shingle

- Can only be done over one layer of shingles.

- BEFORE YOU START: You will be required to schedule a Pre-inspection (805-express/156-stndard) so the inspector can inspect the roof to make sure it is ok to put shingle on shingle, no blistering or curled up shingles. If the pre-inspection is not scheduled it may result in future inspections not passing or the roof needing to be removed.

- Roof in Progress (804-express/132-standard)- 50%-75% or shingles in place.

- Final (803-express/117-standard) Completed Roof, all debris cleaned up.

Note: Any re-roof permit that did not receive a sheathing inspection, may receive disapproval at final inspection and may be subject to removing all of the roof covering, to allow inspection of the underlayment and nailing of the sheathing

Schedule Inspections:

- Access online portal https://aca-prod.accela.com/manatee

- Phone: (941) 749-3047

- Text “schedule” to 833-392-8861